## Slide 1: Introduction to weather radar Jordi Figueras i Ventura Pyrad course

## Slide 2: Contents
    Introduction
    Principles of weather radar
    The weather radar equation
    Polarimetry
    Doppler measurements
    Sources of uncertainty

## Slide 3
1. Introduction

## Slide 4: Definition
RADAR = RAdio Detection And Ranging
Cambridge Dictionary : a device or system for finding the position or speed of objects, such as aircraft, that cannot be seen, by measuring the direction and timing of short radio waves that are sent out and reflect back from the objects

## Slide 5: Purpose of a weather radar
The main purpose of a weather radar is to locate precipitation, calculate its motion and intensity and estimate its type
But other objects are also detected
©

## Slide 6: Instruments for precipitation detection
Radar networks:
Range up to 400 km
~5 min, ~1 km
Indirect measurement
e.g 33 radars in France
Rain gauges networks :
0.1m scale
~10 min, 1h, 24h
Direct measurement
e.g. 551 real time RG in France
MSG : Multi-Sensor Precipitation Estimate (MPE)
Continental scale
15 min, 5 km
Indirect measurement
Better at low latitudes and for convective precipitation

## Slide 7: Why weather radar ?
Weather radar only instrument that provides :
        Real time measurements
        3D images of precipitation
        High temporal and spatial resolution
        For a wide range of precipitation intensity (from drizzle to hail)
        At a long range (up to 400 km)
BUT
It is an indirect measurement and a lot of effort is required to go from measured voltage to mm/h

## Slide 8
2. Principles of weather radar

## Slide 9: How it works (pulsed radar)
Emission to the atmosphere at regular intervals (PRT) of a pulse of energy of short duration (τ) and high power Pt and frequency (f, λ). The pulse is emitted by a directive antenna observing at a certain elevation (α) and azimuth (β) angles through a beam of angular size θ.
The scatterers at a particular range (r) absorb part of the energy and radiate in all directions. A small fraction of power (Pr) is sent back to the radar.

b
r

## Slide 10: How it works

## Slide 11: How it works
α
β
r
North
scatterer
The scatterers are characterized with respect to the radar :
Radial distance :
Azimuth : β
Elevation : α
Received signal with respect to the distance of the scatterer
Geographical location
Physical properties

## Slide 12: Resolution
1°
Vertical resolution
Range :
Vertical resolution :
50 km 100 km 150 km 200 km
0.9 km 1.8 km 2.6 km 3.5 km
Horizontal resolution in azimuth = vertical resolution
Horizontal resolution in distance: Depends on the speed of light and the pulse duration

## Slide 13: Scanning strategy
1 sweep/ x s
x elevations / x min

## Slide 14: Radar wavelength
The choice of the radar wavelength is determined by the size of the scatterer that has to be observed.
The wavelength should be an order of magnitude larger than the scatterer
Larger wavelength require larger antennas to obtain the same beamwidth
Typical hydrometeor sizes :
Drizzle drop : 0.1 to 0.5 mm
Rain drop : 0.5 to 5 mm
Snowflake : 2 to 5 mm
Hailstone : 5 to 50 mm

## Slide 15: Radar wavelength

## Slide 16: Radar wavelength
wavelength (cm) | 1 | 3 | 5 | 10 | 20
frequency (GHz) | 30 | 10 | 6 | 3 | 1,5
Band | K | X | C | S | L
usage | clouds | precipitation | precipitation | precipitation | aeronautical

## Slide 17
3. The weather radar equation

## Slide 18: Radar equation for weather radar
Tx
Pt
Pr
Rx
θ
r
Power density incident on target
Power density at Rx antenna
Rx antenna aperture
Uniform beam filling
Gaussian antenna pattern
Rayleigh scattering
Spherical shape

## Slide 19: Radar equation for weather radar
Tx
Pt
Pr
Rx
θ
r

## Slide 20: Radar equation for weather radar
Tx
Pt
Pr
Rx
θ
r

## Slide 21: Relationship reflectivity - rainfall rate
Empirically derived
Depends on type of precip
Parameters a and b depend on knowledge of Particle Size Distribution PSD N(D, r)
Most likely a and b can be derived statistically using long-term observations
However, individual precipitation events may deviate significantly from the average relationship
Use of auxiliary information to better characterize the PSD

## Slide 22
4. Polarimetry

## Slide 23: Polarimetry
Tx
Pt
Pr
Rx
θ
r

## Slide 24: Polarimetry
Tx
Pt
Pr
Rx
θ
r

## Slide 25: Polarimetric variables
Backward scattering
Forward scattering

## Slide 26: STAR polarimetric measurements
Tx
Pt
Pr
Rx
θ
r

## Slide 27: Polarimetric radar observations

## Slide 28: reflectivity

## Slide 29: Differential reflectivity
Linked to hydrometeor shape
Raindrop size
Ø 4
Ø 3.68
Ø 2.9
D in mm.
Ø 2.65
Ø 1.75
Ø 1.35

## Slide 30: Co-polar correlation coefficient
Linked to heterogeneity of the scatterers
Hydrometeor phase
Antenna quality

## Slide 31: Differential phase
Linked to attenuation

## Slide 32: Specific differential phase
Linked to liquid water content

## Slide 33
5. Doppler moments

## Slide 34: The Doppler effect
Discovered by Christian Doppler in 1842

## Slide 35: Nyquist velocity
True Vr
Folded Vr
Unambigous velocity range

## Slide 36: Doppler dilemma
↑PRF => ↑ vNyquist BUT ↓ rrmax
Solution : MULTIPLE PRF
We get 2 or more Vr potentially folded in 2 or more ±Vnyquist
Combining them properly we can extend the Nyquist interval

## Slide 37: Doppler spectrum
The received signal phase will be a combination of multiple single scatterer returns
Combining several pulses we can obtain the Doppler spectrum
The averaged velocity is the Doppler velocity representative of the global displacement (with respect to the radar) within the radar volume
We can compute higher order moments such as the Doppler spectrum width WD
WD is related to the turbulence within the radar volume
V
VD
wD
Ground clutter is centered around 0 m/s

## Slide 38
6. Sources of uncertainty

## Slide 39: Sources of uncertainty
Partial beam blocking correction
VPR correction
Ground-clutter identification
Attenuation by precipitation
Calibration of the radar system
Conversion of ZH into R
(wet) radome attenuation
Attenuation by gases
Revisit time reduction using the advection field
Artefacts
Secondary lobe reception
Secondary trip echoes
Anomalous Propagation
...

## Slide 40: Clutter identification

## Slide 41: Calibration
Calibration: In measurement technology and Metrology is the comparison of measurement values delivered by a device under test with those of a calibration standard of known accuracy (reference). Such a standard could be another measurement device of known accuracy, a device generating the quantity to be measured, etc.
References: internal signal generator, metallic sphere, sun, light rain, precipitation when pointing at the vertical, ground clutter, etc.

## Slide 42
Thank you! Grazie mille! Moltes Gràcies! Merci!